## README
Fire Risk Assessment Checklist (UK)
What it does: a routine fire safety inspection checklist to use between full fire risk
assessments. Walk the premises, mark each check Yes / No / N/A, and record actions for
anything failing. 'No' answers turn red and are counted automatically.
How to use:
1. Work down the checks by area. Pick Yes, No or N/A from the dropdown.
2. For every No, write the action, owner and due date. Failed checks are totalled at the bottom.
3. Keep completed copies as part of your fire safety management records.
This checklist supports, but does not replace, the full fire risk assessment required by
the Regulatory Reform (Fire Safety) Order 2005. Use the Word templates in this pack for that.
Guidance references last checked: 15 July 2026.
Works in Excel and Google Sheets (no macros, portable formulas only).
Built by Digital Adaption. Free download from https://digitaladaption.co.uk/downloads/fire-risk-assessment-template/
Rates last checked: 15 July 2026

## Fire Safety Checklist
Area | Check | Status (Yes/No/N/A) | Action needed if No | Owner | Due date | Date checked
Escape routes | Escape routes and exits clear of storage and obstructions | Yes |  |  |  | 14/07/2026
Escape routes | Fire doors close fully on their closers, none wedged open | No | Rear corridor door wedged; remove wedge, brief staff | Office manager | 18/07/2026 | 14/07/2026
Escape routes | Final exits open immediately without a key
Escape routes | Emergency lighting working (test switch) where fitted
Detection and alarm | Weekly alarm test done and logged
Detection and alarm | Detectors free of dust, paint and covers
Detection and alarm | Alarm audible in all areas checked this period
Fire-fighting equipment | Extinguishers in place, on brackets, pins and seals intact
Fire-fighting equipment | Extinguisher service date within 12 months
Fire-fighting equipment | Access to extinguishers and hydrants unobstructed
Ignition and fuel | No overloaded sockets or daisy-chained extension leads
Ignition and fuel | Combustible waste removed, bins stored away from the building
Ignition and fuel | Flammable liquids and aerosols stored correctly and minimal
Ignition and fuel | Lithium batteries charged only in designated safe areas
Management | Fire action notices displayed and current
Management | New starters given fire safety induction
Management | Fire drill within the last 12 months and logged
Management | Maintenance records up to date (alarm, lighting, extinguishers, doors)
Checks failed (No)
Checks passed (Yes)
Completion %